| UNIVERSITY OF NIŠ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Course Unit Descriptor |  | Faculty |  |  | Faculty of Civil Engineering and Architecture |  |
| GENERAL INFORMATION |  |  |  |  |  |  |
| Study program |  |  |  | Civil Engineering |  |  |
| Study Module (if applicable) |  |  |  | Hydraulic engineering |  |  |
| Course title |  |  |  | Drinking water treatment |  |  |
| Level of study |  |  |  | Master’s |  |  |
| Type of course |  |  |  | Elective |  |  |
| Semester |  |  |  | Autumn |  |  |
| Year of study |  |  |  | 1st |  |  |
| Number of ECTS allocated |  |  |  | 5 |  |  |
| Name of lecturer/lecturers |  |  |  | Slobodan Milenković; Dragan Milićević |  |  |
| Teaching mode |  |  |  | Lectures; Group tutorials; Project work |  |  |
| PURPOSE AND OVERVIEW (max. 5 sentences) |  |  |  |  |  |  |
| Building student capacity for independent solving of professional problems in the field of drinking water treatment. Buildings student capacity to implement the acquired knowledge in solving of engineering problems in the domain of drinking water treatment. |  |  |  |  |  |  |
| SYLLABUS (brief outline and summary of topics, max. 10 sentences) |  |  |  |  |  |  |
| Theory classes Introduction (4) Indicator of quantities and quality of natural waters for water supply purpose Norms and standards of drinking water quality, needs for drinking water treatment Procedures of drinking water treatment (2) Basic groups of procedures of drinking water treatment. Schemes of procedures of water treatment, Settling (4) Theory basis of settling, types of settling devices, design parameters Efficiency of settling Coagulation and flocculation (4) Theoretical foundations of coagulation and flocculation processes Types of coagulants and flocculants, preparation and dosage of chemicals Facilities for coagulation and flocculation, Efficiency of coagulation and flocculation processes Filtering (6) Theoretical foundations of filtration, Slow filters, Rapid filters, Microfilters Filter backwashing, Filter operation and method of control, Filter efficiency, Disinfection (2) Methodes of disinfection, Preparation and dosage of disinfectants, Facilities and devices for disinfection Special methods and processes (4) Aeration, Flotation, Oxidation, Sorption, Iron, manganese, ammonium, reduction, softening Processing of sludge from the drinking water treatment facilities Drinking water treatment facilities (2) Management and control of a drinking water treatment plant operation Practical classes: Exercises Inidcators of quantity and quality of natural waters for water supply needs– Calculation exercises (2) Norms and standards of drinking water quality. Need for drinking water treatment. Preparation and dosage of chemicals– Laboratory exercises (6) Design of teh water treatment facility of small settlements (16) Acceptance and defence of the analysis. Final consultations and preparation of students for taking the examination (2) |  |  |  |  |  |  |
| LANGUAGE OF INSTRUCTION |  |  |  |  |  |  |
| Serbian (complete course) |  |  |  |  |  |  |
| ASSESSMENT METHODS AND CRITERIA |  |  |  |  |  |  |
| Pre exam duties | Points |  | Final exam |  |  | points |
| Activity during lectures | 10 |  | Written examination |  |  | 30 |
| Practical teaching | 30 |  | Oral examination |  |  | 30 |
| Teaching colloquia |  |  | OVERALL SUM |  |  | 100 |
| *Final examination mark is formed in accordance with the Institutional documents |  |  |  |  |  |  |