| UNIVERSITY OF NIŠ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Course Unit Descriptor |  | Faculty |  |  | Faculty of Civil Engineering and Architecture |  |
| GENERAL INFORMATION |  |  |  |  |  |  |
| Study program |  |  |  | Civil Engineering |  |  |
| Study Module (if applicable) |  |  |  | Building construction |  |  |
| Course title |  |  |  | Water supply and sewage systems in buildings |  |  |
| Level of study |  |  |  | Bachelor |  |  |
| Type of course |  |  |  | Obligatory |  |  |
| Semester |  |  |  | Autumn |  |  |
| Year of study |  |  |  | 4th |  |  |
| Number of ECTS allocated |  |  |  | 5 |  |  |
| Name of lecturer/lecturers |  |  |  | Dragan Milićević |  |  |
| Teaching mode |  |  |  | Lectures; Group tutorials; Laboratory work; Project work |  |  |
| PURPOSE AND OVERVIEW (max. 5 sentences) |  |  |  |  |  |  |
| Expected acquisition of necessary knowledge for independent solving of professional problems in the area of water supply and sewage systems. Acquired necessary knowledge for independent solving of professional problems in the area of water supply and sewage systems.. |  |  |  |  |  |  |
| SYLLABUS (brief outline and summary of topics, max. 10 sentences) |  |  |  |  |  |  |
| Theory classes: Introduction Water demand and consumers. Basic concepts of the water supply and sewage system. Relevant discharges (2), Water supply sources and recipients of waters from facilities (2), Drinking water quality (2), Physical, chemical and bacteriological properties of drinking water (2), Disinfection of water and water supply facilities (2), Waste water quality (2), Materials for construction of water supply and sewage network of buildings Pipes, fittings and armatures (2), Sanitary devices and water supply and sewage services (2) Water supply of buildings Elements of water supply network of a building. Designing and calculation of building water supply network (2), Construction of building water supply network. Constructed water supply network control and commission to service (2), Special cases and issues (2) Building sewage network Elements of building sewage network. Designing and calculation of building sewage network (2) Construction of building sewage network. Constructed sewage network control and commission to service (2), Special cases and issues (2) Regulations, norm and standards in the area of water supply and sewage of buildings (2) Practical classes: Exercises, other forms of classes Water demand and consumers. Basic concepts of the water supply and sewage system. Relevant discharges (2), - calculation exercises. Water supply sources and recipients of waters from facilities – Calculation exercises (2), Drinking water quality – Laboratory exercises (2), Physical and chemical properties of drinking water - Laboratory exercises (2), Bacteriological properties - Laboratory exercises (2), Physical, chemical and bacteriological properties of drinking water - Calculation exercises (2) Water supply network of buildings – Production of partial tasks (2), Sewage systems of buildings - Production of partial tasks (2), Production of design of water supply and sewage network for a minor housing building (6 x 2), Reception and defense of analysis. Final consultations and preparation of the students to pass the examination (2) |  |  |  |  |  |  |
| LANGUAGE OF INSTRUCTION |  |  |  |  |  |  |
| Serbian (complete course) |  |  |  |  |  |  |
| ASSESSMENT METHODS AND CRITERIA |  |  |  |  |  |  |
| Pre exam duties | Points |  | Final exam |  |  | points |
| Activity during lectures | 10 |  | Written examination |  |  | 25 |
| Practical teaching | 40 |  | Oral examination |  |  | 25 |
| Teaching colloquia |  |  | OVERALL SUM |  |  | 100 |
| *Final examination mark is formed in accordance with the Institutional documents |  |  |  |  |  |  |