| UNIVERSITY OF NIŠ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Course Unit Descriptor |  | Faculty |  |  | Faculty of Civil Engineering and Architecture |  |
| GENERAL INFORMATION |  |  |  |  |  |  |
| Study program |  |  |  | Civil Engineering |  |  |
| Study Module (if applicable) |  |  |  | Hydraulic engineering |  |  |
| Course title |  |  |  | Settlement water supply and sewage systems I |  |  |
| Level of study |  |  |  | Bachelor |  |  |
| Type of course |  |  |  | Obligatory |  |  |
| Semester |  |  |  | Spring |  |  |
| Year of study |  |  |  | 3rd |  |  |
| Number of ECTS allocated |  |  |  | 5 |  |  |
| Name of lecturer/lecturers |  |  |  | Slobodan Milenković; Dragan Milićević |  |  |
| Teaching mode |  |  |  | Lectures; Group tutorials; Project work |  |  |
| PURPOSE AND OVERVIEW (max. 5 sentences) |  |  |  |  |  |  |
| Acquisition of necessary knowledge in the field of settlement water supply and sewage systems for independent solving of professional problems. |  |  |  |  |  |  |
| SYLLABUS (brief outline and summary of topics, max. 10 sentences) |  |  |  |  |  |  |
| Theory classes: Introduction (6) Water supply and sewage systems as a branch of water resources, Water supply situation in our country General diagrams of settlement water supply systems, Urban water supply network water consumption Water sources (6) Atmospheric waters Surface waters (running and stagnant waters), Ground waters (natural and artificially replenished aquifers) Sanitary protection of water supply sources Pumping of water (6) Pump types and usage, water well pumping, Pumping stations Joint operation of pumps Transport of water to and within a settlement (9) Basic forms of distribution network in settlements, Design of distribution network in settlements Hidraulic design and dimensions of network and network structures Construction of water supply network and structures (6) Construction materials, fitting Network structures. Surge tanks. Testing and commission of constructed networks. Tanks (6) Classification of tanks, Capacity of tanks, Closing gate and auxiliary facilities Maintenance and management of settlement water supply system (3) Practical classes: Exercises Water demand. Relevant discharge–Calculation exercises (4) Water sources. Water intake and sanitary protection – Calculation exercises (4) Pumping of water – Calculation exercises (4) Production of small settlement water supply design (14) Reception and defence of an analysis. Closing consultations and preparation of students for examination (2) |  |  |  |  |  |  |
| LANGUAGE OF INSTRUCTION |  |  |  |  |  |  |
| Serbian (complete course) |  |  |  |  |  |  |
| ASSESSMENT METHODS AND CRITERIA |  |  |  |  |  |  |
| Pre exam duties | Points |  | Final exam |  |  | points |
| Activity during lectures | 10 |  | Written examination |  |  | 30 |
| Practical teaching | 40 |  | Oral examination |  |  | 20 |
| Teaching colloquia |  |  | OVERALL SUM |  |  | 100 |
| *Final examination mark is formed in accordance with the Institutional documents |  |  |  |  |  |  |