| UNIVERSITY OF NIŠ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Course Unit Descriptor |  | Faculty |  |  | Faculty of Civil Engineering and Architecture |  |
| GENERAL INFORMATION |  |  |  |  |  |  |
| Study program |  |  |  | Civil Engineering |  |  |
| Study Module (if applicable) |  |  |  | Hydraulic engineering |  |  |
| Course title |  |  |  | Settlement water supply and sewage systems II |  |  |
| Level of study |  |  |  | Bachelor |  |  |
| Type of course |  |  |  | Obligatory |  |  |
| Semester |  |  |  | Autumn |  |  |
| Year of study |  |  |  | 4th |  |  |
| Number of ECTS allocated |  |  |  | 7 |  |  |
| Name of lecturer/lecturers |  |  |  | Slobodan Milenković; Dragan Milićević |  |  |
| Teaching mode |  |  |  | Lectures; Group tutorials; Project work |  |  |
| PURPOSE AND OVERVIEW (max. 5 sentences) |  |  |  |  |  |  |
| Acquisition of necessary knowledge in the field of settlement water supply and sewage systems for independent solving of professional problems. |  |  |  |  |  |  |
| SYLLABUS (brief outline and summary of topics, max. 10 sentences) |  |  |  |  |  |  |
| Theory classes Introduction (3) Development of the settlement sewage systems, Sewage system status in our country Fundamental characteristics of waters requiring evacuation (3) Sewage waters of settlements and industry; Atmospheric and ground waters Settlement sewage systems (6) Potential types and forms systems, choice of sewage system Designing of settlement sewage system Hydraulic design of a sewage system (9) Definition of fundamental parameters for design of a sewage system Hydraulic fundamentals for design of sewage network and facilities Design of sewage network and facilities Construction of sewage network and facilities (9) Excavation and protection of ditches, construction of sewage network and facilities Testing of a constructed sewage network and facilities and commission to operation Maintenance and control of operation of sewage network and facilities (6) Design of as-is condition of the settlement sewage network; Cadastre of settlement sewage network Cleaning and maintenance of sewage network and facilities Standards, regulations and measurements on the sewage network (3) Analysis of impact of the sewage contents on the receptor (3) Practical classes: Exercises, Study research work Relevant discharges of settlement waters which require evacuation– Calculation exercises (3) Fundamental characteristics of settlement waters which require evacuation– Laboratory exercises (3) Production of small settlement sewage system design (30) Analysis of impact of sewage contents on a receptor (3) Reception and defense of the design. Closing consultations and preparation of students for taking the examination (3) |  |  |  |  |  |  |
| LANGUAGE OF INSTRUCTION |  |  |  |  |  |  |
| Serbian (complete course) |  |  |  |  |  |  |
| ASSESSMENT METHODS AND CRITERIA |  |  |  |  |  |  |
| Pre exam duties | Points |  | Final exam |  |  | points |
| Activity during lectures | 10 |  | Written examination |  |  | 30 |
| Practical teaching | 30 |  | Oral examination |  |  | 30 |
| Teaching colloquia |  |  | OVERALL SUM |  |  | 100 |
| *Final examination mark is formed in accordance with the Institutional documents |  |  |  |  |  |  |